# Cell Pellet Lysis for Reverse Phase Protein Microarrays

Purpose: To describe the procedure for lysis of cell culture pellets or peripheral blood cell pellets.

Principle: Cell culture or peripheral blood cells must be preserved in a viable state for molecular profiling analysis.  Prior to the analysis of cell signaling proteins by reverse phase protein microarray, the entire cellular proteome must be liberated as a whole cell lysate, representing the functional state of the proteins at the time of lysis.  Maintenance of the proteins in their post-translationally modified forms is necessary for analysis of protein activation states.  A common post-translational modification is phosphorylation. The addition of protease and phosphatase inhibitors in the lysis solutions prevents protein degradation and dephosphorylation respectively.

Reagents:

Lysis Buffer (per mL)

915 uL   TPER Reagent  (Pierce #78510)

60 uL    5 M NaCl  (300 mM final conc.)

10 uL    100 mM orthovanadate (1 mM final conc.) To make 100mM orthovanadate add 0.01839g orthovanadate in 1.0ml dH2O, boil solution for 10 min. to solublize)

10 uL    200 mM  PEFABLOC (AEBSF)  (Roche #1 585 916)

1 uL    5 mg/mL Aprotinin      (5 ug/mL final conc.) (Sigma cat. # A1153)

5 uL  1 mg/mL Pepstatin A  (5 ug/mL final conc.) (Sigma cat. # P5318)

1 uL    5 mg/mL Leupeptin     (5 ug/mL final conc.) (Sigma cat. # L9783)

Note:  final conc. of NaCl is 450 mM because T-PER adds an additional NaCl component (TPER reagent contains 150 mM NaCl).

Procedure:

Reconstitution of protease inhibitors

A. Aprotonin:  Resuspend at 5.0 mg/mL in dH2O. Stable 6 months at -20C.

B. Pepstatin A: Resuspend at 1.0 mg/mL in 10% Acetic Acid in methanol (1:9).                Stable 6 months at -20C.

C. Leupeptin: Resuspend at 5.0 mg/mL in dH2O. Stable 6 months at -20C

D. PEFABLOC (AEBSF): Resuspend to 200mM in dH2O. Stable for 2 months at -20C.

239.5 mg/mL =1.0M

47.9 mg/mL=200mM

Cell Pellet Lysis

1)  Thaw pellets on ice, spin down for 2 minutes in refrigerated (4oC) clinical microfuge and remove any excess liquid.  Thaw for 20 min to one hour depending on size of pellet.

2)  Suspend pellet in appropriate volume of lysis buffer, vortex 15 sec, spin briefly, and incubate on ice for 20 min.  Volume of lysis buffer: 1x106 cells/100 ul of extraction buffer or for lymphocytes 1 x 106 cells/10ul.

3)  Spin 10K, 5 min and transfer supernatant to fresh tube.

4)  Perform protein assay of choice to determine protein concentration.

5)  Dilute sample with 2x Tris-Glycine SDS Sample Buffer (Novex/Invitrogen #LC2676) + 2.5% v/v TCEP (Thermo-Fisher #77720) to 1.0 mg/mL based on the results of the protein assay.

Note:

Beta-mercapto-Ethanol (BME) is severely irritant and, if not strictly required from a

specific sample preparation protocol, its use should be avoided. When using BME do not

exceed 5.0% v/v final concentration.

Alternatively to T-PER reagent, a home-made protein extraction buffer might be used,

prepared with final concentration of the following reagents (store at +4°C):

20mM Tris-HCl pH7.2

150mM NaCl (for increased yield of nuclear protein extraction use 200mM or 300mM)

1% NP40 (Igepal CA-630)

Distilled water to volume

Alternatively to Sodium Orthovanadate, PEFABLOC, Aprotinin, Pepstatin A and Leupeptin, the following protease and phosphatase inhibitors cocktails from SIGMA can be used at 1:100 dilution:

Protease Inhibitor Cocktail #P8340

Phosphatase Inhibitor Cocktail 2 #P5726

Phosphatase Inhibitor Cocktail 3 #P0044

HOME-MADE SAMPLE BUFFER SDS 2X (Invitrogen recipe) (10mL):

0.5 M Tris-HCl, pH 6,8  2.5 ml

Glycerol   2.0 ml

10% (w/v) SDS   4.0 ml

0.4% Bromophenol blue  1 ml

Distilled water to   10.0 ml

4X SDS-PAGE sample loading buffer

10 ml									1X

2.5 ml 1M Tris-HCl, pH 6.8						62.5 mM

0.8 g SDS								2%

4.0 ml 100% glycerol							10%

0.8 ml 14.7 M -mercaptoethanol					2%

8.0 mg bromophenol blue [0.8% Bromophenol blue 1 ml]		0.02%

[1.7] ml H2O

Use at 1X for loading samples onto SDS-polyacrylamide gels.

Note: -mercaptoethanol is a severe irritant and is readily absorbed through the skin; use in a fume hood. SDS in solid form is a respiratory irritant—wear a mask while weighing it out.

References:

Charboneau, L. (2002) Utility of reverse phase protein arrays: Applications to signaling pathways and human body arrays. Briefings in Functional Genomics and Proteomics 1, 305-315.

Paweletz, C.P., Charboneau, L., Bichsel, V.E., Simone, N.L., Chen, T., Gillespie, J.W., Emmert-Buck, M.R., Roth, M.J., Petricoin, I.E. and Liotta, L.A. (2001) Reverse phase protein microarrays which capture disease progression show activation of pro-survival pathways at the cancer invasion front. Oncogene 20, 1981-9.

Simone, N.L., Remaley, A.T., Charboneau, L., Petricoin, E.F., 3rd, Glickman, J.W., Emmert-Buck, M.R., Fleisher, T.A. and Liotta, L.A. (2000) Sensitive immunoassay of tissue cell proteins procured by laser capture microdissection. Am J Pathol 156, 445-52.